{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表-08_分部分项工程和单价措施项目清单与计价表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":317,"n_cols":8,"rows_kept":317,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6]],"flags":["formulas_cached_only"]}
["瑞声科技南宁产业园厂房项目配套用电工程本次发布的第92~159项分部分项工程量清单项目"]
[]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["92","030402017001","高压进线柜安装 1AH1","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["93","030402017002","高压计量柜安装 1AH2","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：1000*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["94","030402017003","高压出线柜安装 1AH3~6","台",4]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["95","030402017004","高压出线柜安装 1AH7","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["96","030402017005","高压出线柜安装 1AH8","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["97","030402017006","高压进线柜安装 2AH1","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["98","030402017007","高压出线柜安装 2AH2~3","台",2]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["99","030402017008","高压出线柜安装 2AH4","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["100","030402017009","高压进线柜安装 3AH1","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["101","030402017010","高压出线柜安装 3AH2","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["102","030402017011","高压出线柜安装 3AH3","台",1]
[null,null,"柜型号:KYN28-12"]
[null,null,"柜体尺寸：800*1500*2300mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["103","030404013001","直流屏安装 40AH","台",2]
[null,null,"品牌：相当于“德力西”产品品质"]
["104","030414007001","外挂电源箱 DC200V 500W","套",1]
[null,null,"品牌：相当于“德力西”产品品质"]
["105","030404004001","低压进线柜安装 1AA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["106","030404004002","低压补偿柜安装 1AA2~3","台",2]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：1000*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["107","030404004003","低压出线柜安装 1AA4","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["108","030404004004","低压出线柜安装 1AA5","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["109","030404004005","低压出线柜安装 1AA6","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["110","030404004006","低压出线柜安装 1AA7","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["111","030404004007","低压出线柜安装 1AA8","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["112","030404004008","低压出线柜安装 1AA9","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["113","030404004009","低压联络柜安装 1AA10","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["114","030404004010","低压进线柜安装 2AA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["115","030404004011","低压补偿柜安装 2AA2~3","台",2]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：1000*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["116","030404004012","低压出线柜安装 2AA4","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["117","030404004013","低压出线柜安装 2AA5","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["118","030404004014","低压出线柜安装 2AA6","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["119","030404004015","低压出线柜安装 2AA7","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["120","030404004016","低压出线柜安装 2AA8","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["121","030404004017","低压出线柜安装 2AA9","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["122","030404004018","低压联络柜安装 2AA10","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["123","030404004019","低压进线柜安装 3AA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["124","030404004020","低压补偿柜安装 3AA2","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：1000*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["125","030404004021","低压补偿柜安装 3AA3","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["126","030404004022","低压出线柜安装 3AA4","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["127","030404004023","低压出线柜安装 3AA5","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["128","030404004024","低压双电源切换柜安装 3FA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["129","030404004025","低压出线柜安装 3FA2","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["130","030404004026","低压出线柜安装 4AA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["131","030404004027","低压补偿柜安装 4AA2~3","台",2]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：1000*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["132","030404004028","低压出线柜安装 4AA4","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["133","030404004029","低压出线柜安装 4AA5","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["134","030404004030","低压出线柜安装 4AA6","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["135","030404004031","低压出线柜安装 4AA7","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["136","030404004032","低压出线柜安装 4AA8","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["137","030404004033","低压联络柜安装 4AA9","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["138","030404004034","低压进线柜安装 5AA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["139","030404004035","低压补偿柜安装 5AA2","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：1000*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["140","030404004036","低压出线柜安装 5AA3","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["141","030404004037","低压联络柜安装 5AA4","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["142","030404004038","低压出线柜安装 5AA5","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["143","030404004039","低压双电源切换柜安装 5FA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["144","030404004040","低压出线柜安装 5FA2","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["145","030404004041","低压进线柜安装 6AA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["146","030404004042","低压补偿柜安装 6AA2","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：800*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["147","030404004043","低压出线柜安装 6AA3","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["148","030404004044","低压出线柜安装 6AA4","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["149","030404004045","低压出线柜安装 6FA1","台",1]
[null,null,"柜型号:GCS"]
[null,null,"柜体尺寸：600*1000*2200mm"]
[null,null,"柜内元件配置:详见设计图纸"]
[null,null,"品牌：相当于“德力西”产品品质"]
["150","030404031011","三相三线负控终端 3*1(10)A 100V","套",1]
[null,null,"带485通讯接口"]
["151","030404031012","三相三线负控终端 3*1(10)A 220/380V","套",1]
[null,null,"带485通讯接口"]
["152","030403003001","带形母线安装 每相一片 TMY-60*6","m",3.4]
[null,null,"含母线伸缩节 MS-60*6"]
[null,null,"只计安装费，主材随柜配置"]
["153","030403003002","带形母线安装 每相一片 TMY-80*6","m",9.6]
[null,null,"含母线伸缩节 MS-80*6"]
[null,null,"只计安装费，主材随柜配置"]
["154","030403003003","带形母线安装 每相一片 TMY-100*10","m",22.2]
[null,null,"含母线伸缩节 MS-100*10"]
[null,null,"只计安装费，主材随柜配置"]
["155","030403003004","带形母线安装 每相三片 TMY-3*(80*10)","m",12.2]
[null,null,"含母线伸缩节 MS-80*10"]
[null,null,"只计安装费，主材随柜配置"]
["156","030403003005","带形母线安装 每相四片 TMY-4*(60*6)","m",1.8]
[null,null,"含母线伸缩节 MS-60*6"]
[null,null,"只计安装费，主材随柜配置"]
["157","030403003006","带形母线安装 每相四片 TMY-4*(80*8)","m",5.4]
[null,null,"含母线伸缩节 MS-80*8"]
[null,null,"只计安装费，主材随柜配置"]
["158","030403003007","带形母线安装 每相四片 TMY-4*(100*10)","m",7.8]
[null,null,"含母线伸缩节 MS-100*8"]
[null,null,"只计安装费，主材随柜配置"]
["159","030403003008","带形母线安装 每相四片 2*TMY-4*(100*10)","m",44.4]
[null,null,"含母线伸缩节 MS-100*10"]
[null,null,"只计安装费，主材随柜配置"]