{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":8,"rows_kept":9,"merged":[[1,0,1,7],[5,0,5,5],[6,0,6,7],[7,5,7,7],[8,5,8,7]],"flags":["formulas_cached_only"]}
[null,"附件-2工程量清单"]
["绿港·欢乐里体育馆铝合金窗补漏工程报价表"]
["序号","工程名称","工作内容","单位","工程量","单价（元）","合价（元）","备注"]
[1,"外墙玻璃幕墙打胶（打胶部位：欢乐里体育馆东面三层及四层外墙窗的最上层三排固定玻璃）","1.使用高空专业作业人员从外侧铲除原有结构胶，并清理干净。\n2.使用高空专业作业人员从外侧施工打结构胶并清理。\n3.含专业设备。\n","㎡",150," "," ","已含人工、材料、机械等全部费用"]
[2,"卫生间漏水维修（四层男厕）\n","1.拆除卫生间漏水瓷砖及混凝土垫层至结构层，并清理。\n2.重新做聚氨酯防水两遍。\n3.恢复50厚C15混凝土垫层、恢复地板砖尺寸300×300。\n4.蓄水试验。","个",1," "," ","已含人工、材料、机械等全部费用"]
["合计：",{"$nulls":5}," "]
["注：1.具体工程量以现场收方为准，本单价为包工包料价格，以上单价已经包括但不限于管理费、临时设施费、安全文明施工费，人工费、材料费、机械费、水电费、辅材耗材费、高空作业费、垃圾清运费、税金、交通费等为实现本合同内容的所有费用。                                               2.结算金额=∑成交人的中标单价×实际发生的工程量\n                                        \n  "]
[{"$nulls":5},"报价单位：（盖章）"]
[{"$nulls":5},"2026年 月  日"]